## psu_considerations
Power sources
9-72 V -> 5V	934
36-72 V -> 12V	717
18-75 V – 12V	846
PoE 48V -> 12V	540
Pondy regulator	180	?
Direct (12V system)	0
220 V (TNEB) -> 12V (only relay)	200	?
220 V (UPS) -> 12V (only relay)	200	?
220 V (TNEB) -> 12V (also Arduino)	200	?
220 V (UPS) -> 12V (also Arduino)	200	?

Combinations				Price	12	24	36	48	Arduino ON	220V required
9-72 V -> 5V	934	220 V (TNEB) -> 12V (only relay)	200	1134	Y	Y	Y	Y	Y	Y
9-72 V -> 5V	934	220 V (UPS) -> 12V (only relay)	200	1134	Y	Y	Y	Y	Y	Y
36-72 V -> 12V	717			717				Y	Y
18-75 V – 12V	846			846		Y	Y	Y	Y
PoE 48V -> 12V	540			540				Y	Y
Pondy regulator	180			180	Y?	Y			Y
Direct (12V system)	0			0	Y				Y
220 V (TNEB) -> 12V (also Arduino)	200			200	Y	Y	Y	Y		Y
220 V (UPS) -> 12V (also Arduino)	200			200	Y	Y	Y	Y	H	Y
				0
Pondy regulator	180	220 V (TNEB) -> 12V (only relay)	200	380	Y	Y			Y	Y
Pondy regulator	180	220 V (UPS) -> 12V (only relay)	200	380	Y	Y			Y	Y
Direct (12V system)	0	220 V (TNEB) -> 12V (only relay)	200	200	Y				Y	Y
Direct (12V system)	0	220 V (UPS) -> 12V (only relay)	200	200	Y				Y	Y

				Chosen
				Second choice
				No

## bill_materials
Material for all versions
Item	Model	Price	Qty.	Total	Comment
Arduino Nano	Nano		1	0
Resistors			6	0
Transistor	TIP122? BC548? IRF520?		1	0
Opto-isolator	PC817(B?)		1	0
Headers	3-pin			0
Headers	2-pin			0
Headers	15-pin		0	0	We don’t need to solder them on, only leave holes for them on the PCB, in case
LEDs	Green?		1	0
LEDs	Red?		1	0
Relay			1	0
Diode	1N4004		1	0
Headers’ cables	3-pin			0
Headers’ cables	2-pin			0
Fuse holder	DC		1	0
Battery cable set			1	0
Switches				0
Buttons				0
230 V AC socket			1	0
230 V AC plug			1	0
230 V AC power cord			1	0
230 V AC neon indicator?			1	0
PCB			1	0
Soldering cost			1	0

Total				0

Total
Material for all versions	0
Casing
Power supply part

Total	0

## todo_list
Add jumpers to separate arduino/etc. Power sources?
Merge DC-DC converter input and output headers into one so that when no converter is used (12V systems) placing a jumper is possible/enough?
Add possibility to provide 5V to Arduino
Add headers for direct tapping to Arduino pins
Add headers for LED indicators (Power/statusOK + Relay on)
Switches/butttons (manually on/off relay, reset, Arduino on/off). Headers necessary?
Add header for expansion? SPI?
Include protection diode on board PCB? i.e. in case it is missing on relay
Include reverse polarity protection diodes?

Verify package for TIP122
Verify package for resistors
Verify package for headers
Verify package for zener diode
Verify package for capacitor
Add polarized capacitor (after rectifier)
Verify zener diodes polarity
Verify PC817 polarities
Verify normal diodes polarity

Verify connect net segments near zener diode and normal diode
Verify connect net segments near PC817 -> ground, mains detector

Verify whether PC817 can work as “NPN” “PNP” or both

Verify whether we will use TIP122
Verify whether we will use opto-isolator

16A plug sufficient? Socket/plug appropriate?

Add circuitry to measure other DC voltages
Add circuitry to sense mains? Or just always power the relay from power adapter connected to TNEB?
Use fuse on mains input to mains sense circuit

Verify Arduino’s analog input max voltage (i.e. is 72V OpenCircuitVoltage ok?), and can we exceed 3.3V safely when AREF = 3.3V

Add reverse polarity protection on solar panel voltage input (one diode or two? 2-3 pin header? What about GND possibly common/not? Voltage can increase if polarity reversed. Study well situation. One more point?)
Add negative voltage protection on A1 (and A0?) verify correctness of how it’s in schematic
Add over voltage protection A0 and A1 (verify correctness of how it’s in schematic)
Verify that placing of resistors before (zener) diodes at analog inputs is good. And their value (10K?)
Is it a problem (probably not) that we read 4 V at panel input when panel input is 0? Could current be fed to the panel and/or damage resistor/zener/anything?

Sane to bond AREF to 3V3 on PCB?

ADC clock to improve accuracy?
AREF capacitor? pg. 244 of datasheet
resistor and/or capacitor at each analog input A0/A1? (datasheet)

## panel_voltage_plot
Vp values common positive	Va values	Vp - Vp/d values	Vp/d values	Vp values common negative	Vb value	d value (divide by)	FORMULA TO BE VERIFIED!
24	-9.43444227005871	22.4344422700587	1.56555772994129	-143.803771570895	13	15.33		1
23	-8.4996738421396	21.4996738421396	1.5003261578604	-129.555634624128
22	-7.56490541422048	20.5649054142205	1.43509458577952	-115.307497677361
21	-6.63013698630137	19.6301369863014	1.36986301369863	-101.059360730594
20	-5.69536855838226	18.6953685583823	1.30463144161774	-86.8112237838265
19	-4.76060013046314	17.7606001304631	1.23939986953686	-72.5630868370594
18	-3.82583170254403	16.825831702544	1.17416829745597	-58.3149498902924
17	-2.89106327462492	15.8910632746249	1.10893672537508	-44.0668129435253
16	-1.95629484670581	14.9562948467058	1.04370515329419	-29.8186759967582							Divide by	Multiply by	R1 value	R2 value
15	-1.02152641878669	14.0215264187867	0.978473581213307	-15.5705390499911							15.33	0.0653
14	-0.08675799086758	13.0867579908676	0.91324200913242	-1.32240210322403							2
13	0.848010437051533	12.1519895629485	0.848010437051533	12.9257348435431
12	1.78277886497065	11.2172211350294	0.782778864970646	27.1738717903101
11	2.71754729288976	10.2824527071102	0.717547292889759	41.4220087370772
10	3.65231572080887	9.34768427919113	0.652315720808871	55.6701456838443
9	4.58708414872798	8.41291585127202	0.587084148727984	69.9182826306114
8	5.5218525766471	7.4781474233529	0.521852576647097	84.1664195773785
7	6.45662100456621	6.54337899543379	0.45662100456621	98.4145565241456
6	7.39138943248532	5.60861056751468	0.391389432485323	112.662693470913
5	8.32615786040444	4.67384213959556	0.326157860404436	126.91083041768					Reverse formula
4	9.26092628832355	3.73907371167645	0.260926288323549	141.158967364447
3	10.1956947162427	2.80430528375734	0.195694716242661	155.407104311214					Y=Vb-reading
2	11.1304631441618	1.86953685583823	0.130463144161774	169.655241257981					X=Y/14.33
1	12.0652315720809	0.934768427919113	0.065231572080887	183.903378204748					Vp=Y+X
0	13	0	0	198.151515151515
-1	13.9347684279191	-0.934768427919113	-0.065231572080887	212.399652098282
-2	14.8695368558382	-1.86953685583823	-0.130463144161774	226.647789045049
-3	15.8043052837573	-2.80430528375734	-0.195694716242661	240.895925991816
-4	16.7390737116765	-3.73907371167645	-0.260926288323549	255.144062938583
-5	17.6738421395956	-4.67384213959556	-0.326157860404436	269.392199885351
-6	18.6086105675147	-5.60861056751468	-0.391389432485323	283.640336832118
-7	19.5433789954338	-6.54337899543379	-0.45662100456621	297.888473778885
-8	20.4781474233529	-7.4781474233529	-0.521852576647097	312.136610725652
-9	21.412915851272	-8.41291585127202	-0.587084148727984	326.384747672419
-10	22.3476842791911	-9.34768427919113	-0.652315720808871	340.632884619186
-11	23.2824527071102	-10.2824527071102	-0.717547292889759	354.881021565953
-12	24.2172211350294	-11.2172211350294	-0.782778864970646	369.12915851272
-13	25.1519895629485	-12.1519895629485	-0.848010437051533	383.377295459487
-14	26.0867579908676	-13.0867579908676	-0.91324200913242	397.625432406254
-15	27.0215264187867	-14.0215264187867	-0.978473581213307	411.873569353021
-16	27.9562948467058	-14.9562948467058	-1.04370515329419	426.121706299789
-17	28.8910632746249	-15.8910632746249	-1.10893672537508	440.369843246556
-18	29.825831702544	-16.825831702544	-1.17416829745597	454.617980193323
-19	30.7606001304631	-17.7606001304631	-1.23939986953686	468.86611714009
-20	31.6953685583823	-18.6953685583823	-1.30463144161774	483.114254086857
-21	32.6301369863014	-19.6301369863014	-1.36986301369863	497.362391033624
-22	33.5649054142205	-20.5649054142205	-1.43509458577952	511.610527980391
-23	34.4996738421396	-21.4996738421396	-1.5003261578604	525.858664927158
-24	35.4344422700587	-22.4344422700587	-1.56555772994129	540.106801873925
-25	36.3692106979778	-23.3692106979778	-1.63078930202218	554.354938820692
-26	37.3039791258969	-24.3039791258969	-1.69602087410307	568.603075767459
-27	38.238747553816	-25.238747553816	-1.76125244618395	582.851212714226
-28	39.1735159817352	-26.1735159817352	-1.82648401826484	597.099349660994
-29	40.1082844096543	-27.1082844096543	-1.89171559034573	611.347486607761
-30	41.0430528375734	-28.0430528375734	-1.95694716242661	625.595623554528
-31	41.9778212654925	-28.9778212654925	-2.0221787345075	639.843760501295
-32	42.9125896934116	-29.9125896934116	-2.08741030658839	654.091897448062
-33	43.8473581213307	-30.8473581213307	-2.15264187866928	668.340034394829
-34	44.7821265492498	-31.7821265492498	-2.21787345075016	682.588171341596
-35	45.7168949771689	-32.7168949771689	-2.28310502283105	696.836308288363
-36	46.6516634050881	-33.6516634050881	-2.34833659491194	711.08444523513
-37	47.5864318330072	-34.5864318330072	-2.41356816699282	725.332582181897
-38	48.5212002609263	-35.5212002609263	-2.47879973907371	739.580719128664
-39	49.4559686888454	-36.4559686888454	-2.5440313111546	753.828856075431
-40	50.3907371167645	-37.3907371167645	-2.60926288323549	768.076993022199
-41	51.3255055446836	-38.3255055446836	-2.67449445531637	782.325129968966
-42	52.2602739726027	-39.2602739726027	-2.73972602739726	796.573266915733
-43	53.1950424005218	-40.1950424005219	-2.80495759947815	810.8214038625
-44	54.129810828441	-41.129810828441	-2.87018917155903	825.069540809267
-45	55.0645792563601	-42.0645792563601	-2.93542074363992	839.317677756034
-46	55.9993476842792	-42.9993476842792	-3.00065231572081	853.565814702801
-47	56.9341161121983	-43.9341161121983	-3.0658838878017	867.813951649568
-48	57.8688845401174	-44.8688845401174	-3.13111545988258	882.062088596335
-49	58.8036529680365	-45.8036529680365	-3.19634703196347	896.310225543102
-50	59.7384213959556	-46.7384213959556	-3.26157860404436	910.558362489869
-51	60.6731898238748	-47.6731898238748	-3.32681017612524	924.806499436636
-52	61.6079582517939	-48.6079582517939	-3.39204174820613	939.054636383404
-53	62.542726679713	-49.542726679713	-3.45727332028702	953.302773330171
-54	63.4774951076321	-50.4774951076321	-3.52250489236791	967.550910276938
-55	64.4122635355512	-51.4122635355512	-3.58773646444879	981.799047223705
-56	65.3470319634703	-52.3470319634703	-3.65296803652968	996.047184170472
-57	66.2818003913894	-53.2818003913894	-3.71819960861057	1010.29532111724
-58	67.2165688193086	-54.2165688193086	-3.78343118069145	1024.54345806401
-59	68.1513372472277	-55.1513372472277	-3.84866275277234	1038.79159501077
-60	69.0861056751468	-56.0861056751468	-3.91389432485323	1053.03973195754
-61	70.0208741030659	-57.0208741030659	-3.97912589693412	1067.28786890431
-62	70.955642530985	-57.955642530985	-4.044357469015	1081.53600585107
-63	71.8904109589041	-58.8904109589041	-4.10958904109589	1095.78414279784
-64	72.8251793868232	-59.8251793868232	-4.17482061317678	1110.03227974461
-65	73.7599478147423	-60.7599478147423	-4.24005218525767	1124.28041669138
-66	74.6947162426615	-61.6947162426615	-4.30528375733855	1138.52855363814
-67	75.6294846705806	-62.6294846705806	-4.37051532941944	1152.77669058491
-68	76.5642530984997	-63.5642530984997	-4.43574690150033	1167.02482753168
-69	77.4990215264188	-64.4990215264188	-4.50097847358121	1181.27296447844
-70	78.4337899543379	-65.4337899543379	-4.5662100456621	1195.52110142521
-71	79.368558382257	-66.368558382257	-4.63144161774299	1209.76923837198
-72	80.3033268101761	-67.3033268101761	-4.69667318982387	1224.01737531875
-73	81.2380952380952	-68.2380952380952	-4.76190476190476	1238.26551226551
-74	82.1728636660144	-69.1728636660144	-4.82713633398565	1252.51364921228
-75	83.1076320939335	-70.1076320939335	-4.89236790606654	1266.76178615905
-76	84.0424005218526	-71.0424005218526	-4.95759947814742	1281.00992310581
-77	84.9771689497717	-71.9771689497717	-5.02283105022831	1295.25806005258
-78	85.9119373776908	-72.9119373776908	-5.0880626223092	1309.50619699935
-79	86.8467058056099	-73.8467058056099	-5.15329419439009	1323.75433394611
-80	87.781474233529	-74.781474233529	-5.21852576647097	1338.00247089288
-81	88.7162426614481	-75.7162426614481	-5.28375733855186	1352.25060783965
-82	89.6510110893673	-76.6510110893673	-5.34898891063275	1366.49874478642
-83	90.5857795172864	-77.5857795172864	-5.41422048271363	1380.74688173318
-84	91.5205479452055	-78.5205479452055	-5.47945205479452	1394.99501867995

## shopping_list_tmp
10K resistors
330 ohm resistors
4.7k resistors
100K resistors
1K resistors
diodes
1.2M resistors
2.2K resistors
2200p capacitor (ceramic)
100n capacitor (ceramic)
22k resistors

## questions_list
safety of mains voltage sensing circuits, both options
battery voltage limits, delays, etc.
Zener diodes and diodes sufficient protection against over and negative voltages?

## values
battery charge start voltage night
battery charge stop voltage night (before delay)	set to 0 to disable	Whichever is earlier/later depending on ‘battery charge stop del/vol earlier/later night’
battery charge stop delay night (before voltage	set to 0 to disable
battery charge stop voltage night (after delay)	set to 0 to disable	If disabled, charging will stop immediately
battery charge stop del/vol earlier/later night
battery charge start voltage day
battery charge stop voltage day (before delay)	set to 0 to disable	Whichever is earlier/later depending on ‘battery charge stop del/vol earlier/later day’
battery charge stop delay day (before voltage	set to 0 to disable
battery charge stop voltage day (after delay)	set to 0 to disable	If disabled, charging will stop immediately
battery charge stop del/vol earlier/later day
Mains on?
Mains charging on?